**DPW REPORT FOR FEBRUARY 2022**

- did leak check around village found six houses that had a leak

- turned back on water at William Lago house at 3001 Cataract street

- called Jason Putman at 9996 NYS Rt. 12 for a continuous leak

- all fire hydrants are now cleaned out

- Whites came and picked up tractor to put other part on so both tractor and blower have new parts

- did another manual check on six houses with all of the leaks with a total of 13,000 gallons of water lost

- cleaned up Woodbattle landing for more snow to be put over there

Cleaned out dry hydrant and made it longer for the fire trucks to fill up

- plowed out fire hall parking lot

- small Kubota is back at shop

- Christmas tree has been removed from bandstand

- removed snow from between red building and Gaines auto

- sent water reports to the department of health for the month

- started handing out Annual Drinking water reports

- Jason Putman water leak is all fixed no more leaks as of 2/15/22 to 2/22/22

- meeting with Engineers for waste plant up grades for the UV disinfection system

- took water & sewer samples in to converse Labs for the month

- plowed out water and sewer plant, fire hall and snowed blowed all of sidewalks

- had New York Rural Water up to trace out a water line at Derrick Jablonski house at 9972 State Rt. 12 and his water leak is fixed tightened down nut on valve until we can find the curb shut off when the ground is not frozen

- snowblowed out around Woodbattle water plant